## Summary
Combination | Host | Dye | Guest | HostConc_uM | Status | N_PASS | N_FAIL | Runs_excluded | CV%_linear_reference_only | Log_CV% | Consistency | Any_flags | Mean | SD | Models | Pooled_Ki_uM | Pooled_Ki_SEM_uM | Pooled_Ki_log10_SEM | Pooled_Ki_CI_low | Pooled_Ki_CI_high | Pooled_pKi | Pooled_pKi_CI_low | Pooled_pKi_CI_high | Pooled_n_runs | Pooled_individual_Ki | Pooled_note | 260616_Ki_uM | 260616_SE | 260616_R2adj | 260616_Model | 260616_Status | 260616_Confidence | 260616_Hill_flag | 260702_Ki_uM | 260702_SE | 260702_R2adj | 260702_Model | 260702_Status | 260702_Confidence | 260702_Hill_flag | 260705_Ki_uM | 260705_SE | 260705_R2adj | 260705_Model | 260705_Status | 260705_Confidence | 260705_Hill_flag | 260804_Ki_uM | 260804_SE | 260804_R2adj | 260804_Model | 260804_Status | 260804_Confidence | 260804_Hill_flag | 260812_Ki_uM | 260812_SE | 260812_R2adj | 260812_Model | 260812_Status | 260812_Confidence | 260812_Hill_flag | 260422_Ki_uM | 260422_SE | 260422_R2adj | 260422_Model | 260422_Status | 260422_Confidence | 260422_Hill_flag | 260522_Ki_uM | 260522_SE | 260522_R2adj | 260522_Model | 260522_Status | 260522_Confidence | 260522_Hill_flag | 260608_Ki_uM | 260608_SE | 260608_R2adj | 260608_Model | 260608_Status | 260608_Confidence | 260608_Hill_flag
PMP5-Na ¦ DAPI ¦ Atr (20 µM host) | PMP5-Na | DAPI | Atr | 20 | PASS | 1 | 0 | [5 empty] | 1.4497 |  | Standard | 1.4497 |  |  |  |  | 5.8387 |  |  | 1 | 1.45 | single run — no pooling performed | 1.4497 | 0.32563 | 0.94453 | Standard | PASS | High
PMP5-Na ¦ DAPI ¦ Bet (20 µM host) | PMP5-Na | DAPI | Bet | 20 | PASS | 1 | 0 |  |  |  |  | Approx. model | 2.1547 |  | HillSlope (approx.) | 2.1547 |  |  |  |  | 5.6666 |  |  | 1 | 2.155 | single run — no pooling performed | [7 empty] | 2.1547 | 0.84031 | 0.93602 | HillSlope (approx.) | PASS | High | FALSE
PMP5-Na ¦ DAPI ¦ Cad (20 µM host) | PMP5-Na | DAPI | Cad | 20 | PASS | 3 | 0 |  | 1.8916 | 1.0981 |  | Approx. model, Hill slope flag, Low confidence | 11.0634 | 0.20927 | HillSlope (approx.) | 11.0634 | 0.12082 | 0.0047429 | 10.5556 | 11.5957 | 4.9561 | 4.9357 | 4.9765 | 3 | 11.08, 10.85, 11.26 |  | 11.0814 | 0.44977 | 0.99207 | HillSlope (approx.) | PASS | High | TRUE | 10.8479 | 38.4329 | 0.99717 | HillSlope (approx.) | PASS | Low — wide CI, recommend retest | TRUE | 11.2649 | 40.8161 | 0.99729 | HillSlope (approx.) | PASS | Low — wide CI, recommend retest | TRUE
PMP5-Na ¦ DAPI ¦ Cis (20 µM host) | PMP5-Na | DAPI | Cis | 20 | PASS | 1 | 0 | [5 empty] | 43.1172 |  | Standard | 43.1172 |  |  |  |  | 4.3653 |  |  | 1 | 43.12 | single run — no pooling performed | [21 empty] | 43.1172 | 9.0065 | 0.97068 | Standard | PASS | High
PMP5-Na ¦ DAPI ¦ Clo (20 µM host) | PMP5-Na | DAPI | Clo | 20 | PASS | 1 | 0 |  |  |  |  | Approx. model | 2.7597 |  | HillSlope (approx.) | 2.7597 |  |  |  |  | 5.5591 |  |  | 1 | 2.76 | single run — no pooling performed | [14 empty] | 2.7597 | 0.49879 | 0.98705 | HillSlope (approx.) | PASS | High | FALSE
PMP5-Na ¦ DAPI ¦ Dau (20 µM host) | PMP5-Na | DAPI | Dau | 20 | PASS | 1 | 0 |  |  |  |  | Approx. model, Hill slope flag | 36.1389 |  | HillSlope (approx.) | 36.1389 |  |  |  |  | 4.442 |  |  | 1 | 36.14 | single run — no pooling performed | [28 empty] | 36.1389 | 4.2802 | 0.98588 | HillSlope (approx.) | PASS | High | TRUE
PMP5-Na ¦ DAPI ¦ Dox (20 µM host) | PMP5-Na | DAPI | Dox | 20 | PASS | 2 | 0 |  | 2.1532 | 1.5342 |  | Approx. model, Hill slope flag, Low confidence | 31.3078 | 0.67413 | HillSlope (approx.) | 31.3078 | 0.47668 | 0.0066124 | 25.8008 | 37.9902 | 4.5043 | 4.4203 | 4.5884 | 2 | 31.79, 30.83 | wide/unreliable CI at n=2 | 31.7881 | 2.1821 | 0.9805 | HillSlope (approx.) | PASS | High | TRUE | 30.8347 | 557.6885 | 0.93134 | HillSlope (approx.) | PASS | Low — wide CI, recommend retest | TRUE
PMP5-Na ¦ DAPI ¦ His (20 µM host) | PMP5-Na | DAPI | His | 20 | PASS | 3 | 0 |  | 30.2701 | 19.0965 |  | Approx. model, Hill slope flag | 7.8996 | 2.3912 | HillSlope (approx.) | 7.8996 | 1.3806 | 0.075899 | 3.7242 | 16.7561 | 5.1024 | 4.7758 | 5.429 | 3 | 6.414, 11.18, 6.875 | [15 empty] | 11.1789 | 1.4228 | 0.98456 | HillSlope (approx.) | PASS | High | TRUE | 6.8753 | 0.10797 | 0.99905 | HillSlope (approx.) | PASS | High | TRUE | 6.4139 | 0.30557 | 0.99147 | HillSlope (approx.) | PASS | High | TRUE
PMP5-Na ¦ DAPI ¦ Imi (20 µM host) | PMP5-Na | DAPI | Imi | 20 | PASS | 1 | 0 | [5 empty] | 10.6496 |  | Standard | 10.6496 |  |  |  |  | 4.9727 |  |  | 1 | 10.65 | single run — no pooling performed | [14 empty] | 10.6496 | 2.7958 | 0.93068 | Standard | PASS | High
PMP5-Na ¦ DAPI ¦ L3M (20 µM host) | PMP5-Na | DAPI | L3M | 20 | PASS | 3 | 0 |  | 13.0942 | 7.853 |  | Approx. model, Hill slope flag | 10.9918 | 1.4393 | HillSlope (approx.) | 10.9918 | 0.83097 | 0.032832 | 7.9397 | 15.2172 | 4.9589 | 4.8177 | 5.1002 | 3 | 10.42, 12.76, 9.989 | [15 empty] | 12.7609 | 0.77487 | 0.99791 | HillSlope (approx.) | PASS | High | TRUE | 9.9891 | 0.48408 | 0.98566 | HillSlope (approx.) | PASS | High | TRUE | 10.4183 | 0.34035 | 0.99207 | HillSlope (approx.) | PASS | High | TRUE
PMP5-Na ¦ DAPI ¦ Lys (20 µM host) | PMP5-Na | DAPI | Lys | 20 | PASS | 3 | 0 |  | 21.6132 | 13.2904 |  | Approx. model, Hill slope flag, Low confidence | 9.6525 | 2.0862 | HillSlope (approx.) | 9.6525 | 1.2045 | 0.054193 | 5.6424 | 16.5125 | 5.0154 | 4.7822 | 5.2485 | 3 | 9.273, 12.19, 7.956 | [15 empty] | 12.1895 | 0.47955 | 0.99781 | HillSlope (approx.) | PASS | High | TRUE | 7.9559 | 0.12619 | 0.99882 | HillSlope (approx.) | PASS | High | TRUE | 9.2734 | 54.1586 | 0.98656 | HillSlope (approx.) | PASS | Low — wide CI, recommend retest | TRUE
PMP5-Na ¦ DAPI ¦ Met (20 µM host) | PMP5-Na | DAPI | Met | 20 | PASS | 2 | 0 |  | 0.83466 | 0.59194 |  | Approx. model, Low confidence | 171.5248 | 1.4317 | HillSlope (approx.) | 171.5248 | 1.0123 | 0.0025632 | 159.1324 | 184.8823 | 3.7657 | 3.7331 | 3.7982 | 2 | 170.5, 172.5 | wide/unreliable CI at n=2 | 170.5155 | 666.8167 | 0.92245 | HillSlope (approx.) | PASS | Low — wide CI, recommend retest | FALSE | [7 empty] | 172.5401 | 173.1397 | 0.99105 | HillSlope (approx.) | PASS | Low — wide CI, recommend retest | FALSE
PMP5-Na ¦ DAPI ¦ Mit (20 µM host) | PMP5-Na | DAPI | Mit | 20 | PASS | 2 | 0 |  | 0.23688 | 0.16764 |  | Approx. model, Hill slope flag | 33.3844 | 0.079082 | HillSlope (approx.) | 33.3844 | 0.055919 | 0.00072745 | 32.6814 | 34.1025 | 4.4765 | 4.4672 | 4.4857 | 2 | 33.33, 33.44 | wide/unreliable CI at n=2 | 33.3285 | 4.589 | 0.95692 | HillSlope (approx.) | PASS | High | TRUE | [7 empty] | 33.4403 | 6.7119 | 0.94177 | HillSlope (approx.) | PASS | High | TRUE
PMP5-Na ¦ DAPI ¦ Pal (20 µM host) | PMP5-Na | DAPI | Pal | 20 | PASS | 1 | 0 |  |  |  |  | Approx. model | 6.5383 |  | HillSlope (approx.) | 6.5383 |  |  |  |  | 5.1845 |  |  | 1 | 6.538 | single run — no pooling performed | 6.5383 | 0.29969 | 0.99405 | HillSlope (approx.) | PASS | High | FALSE
PMP5-Na ¦ DAPI ¦ Roc (20 µM host) | PMP5-Na | DAPI | Roc | 20 | PASS | 2 | 0 |  | 3.1724 | 2.2686 |  | Approx. model | 2.0753 | 0.065836 | HillSlope (approx.), Standard | 2.0753 | 0.046553 | 0.0097423 | 1.5606 | 2.7597 | 5.6829 | 5.5591 | 5.8067 | 2 | 2.029, 2.122 | wide/unreliable CI at n=2 | 2.0292 | 0.4009 | 0.91177 | HillSlope (approx.) | PASS | High | FALSE | [14 empty] | 2.1223 | 0.47746 | 0.94473 | Standard | PASS | High
PMP5-Na ¦ DAPI ¦ Ser (20 µM host) | PMP5-Na | DAPI | Ser | 20 | PASS | 1 | 0 | [5 empty] | 107.7879 |  | Standard | 107.7879 |  |  |  |  | 3.9674 |  |  | 1 | 107.8 | single run — no pooling performed | [14 empty] | 107.7879 | 37.1485 | 0.96334 | Standard | PASS | High
PMP5-Na ¦ DAPI ¦ Spd (20 µM host) | PMP5-Na | DAPI | Spd | 20 | PASS | 4 | 0 |  | 77.157 | 47.0768 | Inconsistent across runs (log-scale CV%=47.1 > 30) — recommend orthogonal retest before follow-up | Approx. model, Hill slope flag, Low confidence | 11.2175 | 8.6551 | HillSlope (approx.) | 11.2175 | 4.3275 | 0.16754 | 3.2862 | 38.291 | 4.9501 | 4.4169 | 5.4833 | 4 | 4.09, 11.53, 12.56, 26.74 |  | 11.5279 | 52.2621 | 0.99454 | HillSlope (approx.) | PASS | Low — wide CI, recommend retest | TRUE | 12.5603 | 50.1335 | 0.99054 | HillSlope (approx.) | PASS | Low — wide CI, recommend retest | TRUE | 26.7375 | 2.9889 | 0.96349 | HillSlope (approx.) | PASS | High | TRUE | [7 empty] | 4.0899 | 22.1954 | 0.98552 | HillSlope (approx.) | PASS | Low — wide CI, recommend retest | TRUE
PMP5-Na ¦ DAPI ¦ Spe (20 µM host) | PMP5-Na | DAPI | Spe | 20 | PASS | 2 | 0 |  | 0.33876 | 0.23983 |  | Approx. model, Hill slope flag, Low confidence | 3.5104 | 0.011892 | HillSlope (approx.) | 3.5104 | 0.0084088 | 0.0010403 | 3.4051 | 3.6189 | 5.4546 | 5.4414 | 5.4679 | 2 | 3.519, 3.502 | wide/unreliable CI at n=2 | 3.5188 | 44.6985 | 0.96245 | HillSlope (approx.) | PASS | Low — wide CI, recommend retest | TRUE | 3.502 | 27.8689 | 0.9797 | HillSlope (approx.) | PASS | Low — wide CI, recommend retest | TRUE
PMP5-Na ¦ DAPI ¦ Spm (20 µM host) | PMP5-Na | DAPI | Spm | 20 | PASS | 1 | 0 |  |  |  |  | Approx. model, Hill slope flag, Low confidence | 3.7484 |  | HillSlope (approx.) | 3.7484 |  |  |  |  | 5.4262 |  |  | 1 | 3.748 | single run — no pooling performed | [14 empty] | 3.7484 | 37.6819 | 0.97571 | HillSlope (approx.) | PASS | Low — wide CI, recommend retest | TRUE
PMP5-Na ¦ DAPI ¦ Vec (20 µM host) | PMP5-Na | DAPI | Vec | 20 | PASS | 1 | 0 |  |  |  |  | Approx. model, Hill slope flag, Low confidence | 30.2905 |  | HillSlope (approx.) | 30.2905 |  |  |  |  | 4.5187 |  |  | 1 | 30.29 | single run — no pooling performed | [28 empty] | 30.2905 | 295.6696 | 0.90337 | HillSlope (approx.) | PASS | Low — wide CI, recommend retest | TRUE
PMP5-Na ¦ DAPI ¦ Vin (20 µM host) | PMP5-Na | DAPI | Vin | 20 | PASS | 3 | 0 |  | 70.2314 | 50.0024 | Inconsistent across runs (log-scale CV%=50.0 > 30) — recommend orthogonal retest before follow-up |  | 3.82 | 2.6829 | Standard | 3.82 | 1.5489 | 0.1761 | 0.66738 | 21.8653 | 5.4179 | 4.6602 | 6.1756 | 3 | 5.901, 5.56, 1.699 | [15 empty] | 5.5605 | 0.6805 | 0.98341 | Standard | PASS | High |  | 1.699 | 0.4014 | 0.94103 | Standard | PASS | High |  | 5.9007 | 1.4599 | 0.93765 | Standard | PASS | High
PMP6-Na ¦ DAPI ¦ Act (5 µM host) | PMP6-Na | DAPI | Act | 5 | PASS | 1 | 0 | [5 empty] | 76.0998 |  | Standard | 76.0998 |  |  |  |  | 4.1186 |  |  | 1 | 76.1 | single run — no pooling performed | [35 empty] | 76.0998 | 14.1031 | 0.99561 | Standard | PASS | High
PMP6-Na ¦ DAPI ¦ Adm (18 µM host) | PMP6-Na | DAPI | Adm | 18 | PASS | 1 | 0 | [5 empty] | 7.69 |  | Standard | 7.69 |  |  |  |  | 5.1141 |  |  | 1 | 7.69 | single run — no pooling performed | [14 empty] | 7.69 | 0.66956 | 0.99187 | Standard | PASS | High
PMP6-Na ¦ DAPI ¦ And (18 µM host) | PMP6-Na | DAPI | And | 18 | PASS | 2 | 0 |  | 12.2932 | 9.0816 |  | Approx. model, Hill slope flag | 11.0643 | 1.3602 | HillSlope (approx.) | 11.0643 | 0.96178 | 0.037752 | 3.6664 | 33.3889 | 4.9561 | 4.4764 | 5.4358 | 2 | 12.07, 10.14 | wide/unreliable CI at n=2 | 12.0691 | 1.2883 | 0.96969 | HillSlope (approx.) | PASS | High | TRUE | 10.1431 | 0.547 | 0.99211 | HillSlope (approx.) | PASS | High | FALSE
PMP6-Na ¦ DAPI ¦ Api (5 µM host) | PMP6-Na | DAPI | Api | 5 | PASS | 1 | 0 | [5 empty] | 161.4066 |  | Standard | 161.4066 |  |  |  |  | 3.7921 |  |  | 1 | 161.4 | single run — no pooling performed | [35 empty] | 161.4066 | 54.2531 | 0.98695 | Standard | PASS | High
PMP6-Na ¦ DAPI ¦ Atr (18 µM host) | PMP6-Na | DAPI | Atr | 18 | PASS | 1 | 0 | [5 empty] | 0.18665 |  | Standard | 0.18665 |  |  |  |  | 6.729 |  |  | 1 | 0.1867 | single run — no pooling performed | [7 empty] | 0.18665 | 0.048347 | 0.93559 | Standard | PASS | High
PMP6-Na ¦ DAPI ¦ Cad (18 µM host) | PMP6-Na | DAPI | Cad | 18 | PASS | 4 | 0 |  | 3.9725 | 2.0061 |  | Approx. model, Hill slope flag, Low confidence | 8.6944 | 0.34538 | HillSlope (approx.) | 8.6944 | 0.17269 | 0.0086261 | 8.1618 | 9.2617 | 5.0608 | 5.0333 | 5.0882 | 4 | 8.231, 8.674, 9.007, 8.886 | [8 empty] | 9.0074 | 80.4768 | 0.97953 | HillSlope (approx.) | PASS | Low — wide CI, recommend retest | TRUE | 8.886 | 0.58379 | 0.98006 | HillSlope (approx.) | PASS | High | TRUE | [21 empty] | 8.2308 | 67.2149 | 0.98188 | HillSlope (approx.) | PASS | Low — wide CI, recommend retest | TRUE | 8.6737 | 99.2134 | 0.97142 | HillSlope (approx.) | PASS | Low — wide CI, recommend retest | TRUE
PMP6-Na ¦ DAPI ¦ Cez (18 µM host) | PMP6-Na | DAPI | Cez | 18 | PASS | 1 | 0 | [5 empty] | 10.343 |  | Standard | 10.343 |  |  |  |  | 4.9854 |  |  | 1 | 10.34 | single run — no pooling performed | [14 empty] | 10.343 | 3.3643 | 0.90749 | Standard | PASS | High
PMP6-Na ¦ DAPI ¦ Clo (18 µM host) | PMP6-Na | DAPI | Clo | 18 | PASS | 1 | 0 | [5 empty] | 2.4712 |  | Standard | 2.4712 |  |  |  |  | 5.6071 |  |  | 1 | 2.471 | single run — no pooling performed | [14 empty] | 2.4712 | 0.38245 | 0.97326 | Standard | PASS | High
PMP6-Na ¦ DAPI ¦ Dab (18 µM host) | PMP6-Na | DAPI | Dab | 18 | PASS | 1 | 0 |  |  |  |  | Approx. model | 7.0356 |  | HillSlope (approx.) | 7.0356 |  |  |  |  | 5.1527 |  |  | 1 | 7.036 | single run — no pooling performed | [42 empty] | 7.0356 | 0.46572 | 0.99459 | HillSlope (approx.) | PASS | High | FALSE
PMP6-Na ¦ DAPI ¦ Dau (5 µM host) | PMP6-Na | DAPI | Dau | 5 | PASS | 1 | 0 |  |  |  |  | Low confidence | 171.3008 |  | Standard | 171.3008 |  |  |  |  | 3.7662 |  |  | 1 | 171.3 | single run — no pooling performed | [35 empty] | 171.3008 | 163.738 | 0.91061 | Standard | PASS | Low — wide CI, recommend retest
PMP6-Na ¦ DAPI ¦ Dau (18 µM host) | PMP6-Na | DAPI | Dau | 18 | PASS | 1 | 0 | [5 empty] | 70.0698 |  | Standard | 70.0698 |  |  |  |  | 4.1545 |  |  | 1 | 70.07 | single run — no pooling performed | [21 empty] | 70.0698 | 17.2478 | 0.9791 | Standard | PASS | High
PMP6-Na ¦ DAPI ¦ Dib (5 µM host) | PMP6-Na | DAPI | Dib | 5 | PASS | 1 | 0 |  |  |  |  | Approx. model | 130.8789 |  | HillSlope (approx.) | 130.8789 |  |  |  |  | 3.8831 |  |  | 1 | 130.9 | single run — no pooling performed | [35 empty] | 130.8789 | 40.5189 | 0.99938 | HillSlope (approx.) | PASS | High | FALSE
PMP6-Na ¦ DAPI ¦ Dib (18 µM host) | PMP6-Na | DAPI | Dib | 18 | PASS | 1 | 0 |  |  |  |  | Approx. model | 126.296 |  | HillSlope (approx.) | 126.296 |  |  |  |  | 3.8986 |  |  | 1 | 126.3 | single run — no pooling performed | [42 empty] | 126.296 | 49.7712 | 0.999 | HillSlope (approx.) | PASS | High | FALSE
PMP6-Na ¦ DAPI ¦ Dox (18 µM host) | PMP6-Na | DAPI | Dox | 18 | PASS | 4 | 0 |  | 31.9171 | 17.3025 |  | Approx. model, Hill slope flag | 35.4067 | 11.3008 | HillSlope (approx.) | 35.4067 | 5.6504 | 0.069307 | 21.3068 | 58.8371 | 4.4509 | 4.2303 | 4.6715 | 4 | 54.33, 27.14, 37.51, 28.42 |  | 37.5062 | 4.4672 | 0.9969 | HillSlope (approx.) | PASS | High | FALSE | 28.4223 | 2.3154 | 0.99326 | HillSlope (approx.) | PASS | High | TRUE | [28 empty] | 54.3257 | 15.6246 | 0.99606 | HillSlope (approx.) | PASS | High | FALSE | 27.1376 | 1.8454 | 0.9951 | HillSlope (approx.) | PASS | High | TRUE
PMP6-Na ¦ DAPI ¦ Fen (18 µM host) | PMP6-Na | DAPI | Fen | 18 | PASS | 3 | 0 |  | 16.675 | 10.106 |  | Approx. model, Low confidence | 234.8155 | 39.1555 | HillSlope (approx.), Standard | 234.8155 | 22.6064 | 0.041811 | 155.1776 | 355.324 | 3.6293 | 3.4494 | 3.8092 | 3 | 279.2, 231.6, 200.2 |  | 231.625 | 553.438 | 0.97692 | HillSlope (approx.) | PASS | Low — wide CI, recommend retest | FALSE | [14 empty] | 200.199 | 210.6254 | 0.90359 | Standard | PASS | Low — wide CI, recommend retest | [22 empty] | 279.2113 | 1376.8476 | 0.92887 | HillSlope (approx.) | PASS | Low — wide CI, recommend retest | FALSE
PMP6-Na ¦ DAPI ¦ His (18 µM host) | PMP6-Na | DAPI | His | 18 | PASS | 2 | 0 |  | 76.365 | 71.5976 | Inconsistent across runs (log-scale CV%=71.6 > 30) — recommend orthogonal retest before follow-up | Approx. model, Hill slope flag, Low confidence | 4.9564 | 3.785 | HillSlope (approx.) | 4.9564 | 2.6764 | 0.23451 | 0.005193 | 4730.5727 | 5.3048 | 2.3251 | 8.2846 | 2 | 8.505, 2.888 | wide/unreliable CI at n=2 | [14 empty] | 8.5051 | 0.37712 | 0.98965 | HillSlope (approx.) | PASS | High | TRUE | 2.8884 | 17.5575 | 0.9911 | HillSlope (approx.) | PASS | Low — wide CI, recommend retest | TRUE
PMP6-Na ¦ DAPI ¦ Imi (18 µM host) | PMP6-Na | DAPI | Imi | 18 | PASS | 1 | 0 |  |  |  |  | Approx. model | 14.5608 |  | HillSlope (approx.) | 14.5608 |  |  |  |  | 4.8368 |  |  | 1 | 14.56 | single run — no pooling performed | [14 empty] | 14.5608 | 3.2343 | 0.99739 | HillSlope (approx.) | PASS | High | FALSE
PMP6-Na ¦ DAPI ¦ Iri (5 µM host) | PMP6-Na | DAPI | Iri | 5 | PASS | 1 | 0 | [5 empty] | 42.0712 |  | Standard | 42.0712 |  |  |  |  | 4.376 |  |  | 1 | 42.07 | single run — no pooling performed | [35 empty] | 42.0712 | 3.8924 | 0.99533 | Standard | PASS | High
PMP6-Na ¦ DAPI ¦ L3M (18 µM host) | PMP6-Na | DAPI | L3M | 18 | PASS | 2 | 0 |  | 52.1422 | 44.5855 | Inconsistent across runs (log-scale CV%=44.6 > 30) — recommend orthogonal retest before follow-up | Approx. model, Hill slope flag | 6.4448 | 3.3605 | HillSlope (approx.) | 6.4448 | 2.3762 | 0.16012 | 0.059516 | 697.8952 | 5.1908 | 3.1562 | 7.2254 | 2 | 9.318, 4.457 | wide/unreliable CI at n=2 | [14 empty] | 9.3183 | 0.49708 | 0.99231 | HillSlope (approx.) | PASS | High | TRUE | 4.4574 | 0.38211 | 0.97877 | HillSlope (approx.) | PASS | High | TRUE
PMP6-Na ¦ DAPI ¦ Lys (18 µM host) | PMP6-Na | DAPI | Lys | 18 | PASS | 2 | 0 |  | 40.6603 | 33.3106 | Inconsistent across runs (log-scale CV%=33.3 > 30) — recommend orthogonal retest before follow-up | Approx. model | 8.935 | 3.633 | HillSlope (approx.) | 8.935 | 2.5689 | 0.12486 | 0.23149 | 344.8677 | 5.0489 | 3.4623 | 6.6355 | 2 | 6.702, 11.91 | wide/unreliable CI at n=2 | [14 empty] | 6.7024 | 0.17045 | 0.99827 | HillSlope (approx.) | PASS | High | FALSE | 11.9113 | 1.6033 | 0.95665 | HillSlope (approx.) | PASS | High | FALSE
PMP6-Na ¦ DAPI ¦ Met (18 µM host) | PMP6-Na | DAPI | Met | 18 | PASS | 2 | 0 |  | 49.3082 | 41.7169 | Inconsistent across runs (log-scale CV%=41.7 > 30) — recommend orthogonal retest before follow-up |  | 59.0526 | 29.1178 | Standard | 59.0526 | 20.5894 | 0.15142 | 0.70347 | 4957.1862 | 4.2288 | 2.3048 | 6.1528 | 2 | 41.67, 83.69 | wide/unreliable CI at n=2 | [14 empty] | 83.6876 | 20.562 | 0.98085 | Standard | PASS | High | [22 empty] | 41.6694 | 9.8656 | 0.97109 | Standard | PASS | High
PMP6-Na ¦ DAPI ¦ Mit (18 µM host) | PMP6-Na | DAPI | Mit | 18 | PASS | 4 | 0 |  | 20.5443 | 10.8183 |  | Approx. model, Hill slope flag, Low confidence | 28.6473 | 5.8854 | HillSlope (approx.) | 28.6473 | 2.9427 | 0.044611 | 20.659 | 39.7244 | 4.5429 | 4.4009 | 4.6849 | 4 | 28.2, 38.3, 26.18, 23.83 |  | 38.2968 | 13.901 | 0.99367 | HillSlope (approx.) | PASS | High | TRUE | 26.1779 | 1481.5508 | 0.98283 | HillSlope (approx.) | PASS | Low — wide CI, recommend retest | TRUE | 23.8257 | 275.2686 | 0.90936 | HillSlope (approx.) | PASS | Low — wide CI, recommend retest | TRUE | [28 empty] | 28.1962 | 11979.6948 | 0.92108 | HillSlope (approx.) | PASS | Low — wide CI, recommend retest | TRUE
PMP6-Na ¦ DAPI ¦ Mor (5 µM host) | PMP6-Na | DAPI | Mor | 5 | PASS | 1 | 0 |  |  |  |  | Approx. model, Hill slope flag, Low confidence | 1.6998 |  | HillSlope (approx.) | 1.6998 |  |  |  |  | 5.7696 |  |  | 1 | 1.7 | single run — no pooling performed | [35 empty] | 1.6998 | 2.533 | 0.92511 | HillSlope (approx.) | PASS | Low — wide CI, recommend retest | TRUE
PMP6-Na ¦ DAPI ¦ Mor (18 µM host) | PMP6-Na | DAPI | Mor | 18 | PASS | 1 | 0 |  |  |  |  | Approx. model | 4.3696 |  | HillSlope (approx.) | 4.3696 |  |  |  |  | 5.3596 |  |  | 1 | 4.37 | single run — no pooling performed | [21 empty] | 4.3696 | 0.31357 | 0.99279 | HillSlope (approx.) | PASS | High | FALSE
PMP6-Na ¦ DAPI ¦ Mox (5 µM host) | PMP6-Na | DAPI | Mox | 5 | PASS | 1 | 0 |  |  |  |  | Approx. model | 98.8402 |  | HillSlope (approx.) | 98.8402 |  |  |  |  | 4.0051 |  |  | 1 | 98.84 | single run — no pooling performed | [35 empty] | 98.8402 | 4.4013 | 0.99997 | HillSlope (approx.) | PASS | High | FALSE
PMP6-Na ¦ DAPI ¦ Neo (18 µM host) | PMP6-Na | DAPI | Neo | 18 | PASS | 4 | 0 |  | 73.5272 | 44.4316 | Inconsistent across runs (log-scale CV%=44.4 > 30) — recommend orthogonal retest before follow-up | Approx. model, Hill slope flag, Low confidence | 48.1416 | 35.3972 | HillSlope (approx.), Standard | 48.1416 | 17.6986 | 0.15966 | 14.9418 | 155.109 | 4.3175 | 3.8094 | 4.8256 | 4 | 25.21, 126.4, 57.24, 29.45 |  | 126.4075 | 70.5727 | 0.93346 | Standard | PASS | Low — wide CI, recommend retest |  | 57.2355 | 24.0021 | 0.92607 | Standard | PASS | High |  | 29.4454 | 9.5372 | 0.9272 | Standard | PASS | High | [29 empty] | 25.2131 | 4.399 | 0.92762 | HillSlope (approx.) | PASS | High | TRUE
PMP6-Na ¦ DAPI ¦ Pal (5 µM host) | PMP6-Na | DAPI | Pal | 5 | PASS | 1 | 0 |  |  |  |  | Approx. model | 1.5402 |  | HillSlope (approx.) | 1.5402 |  |  |  |  | 5.8124 |  |  | 1 | 1.54 | single run — no pooling performed | [35 empty] | 1.5402 | 0.19708 | 0.95927 | HillSlope (approx.) | PASS | High | FALSE
PMP6-Na ¦ DAPI ¦ Pal (18 µM host) | PMP6-Na | DAPI | Pal | 18 | PASS | 5 | 0 |  | 33.8644 | 16.3516 |  | Approx. model, Hill slope flag | 3.6946 | 1.2512 | HillSlope (approx.), Standard | 3.6946 | 0.55953 | 0.065772 | 2.4264 | 5.6257 | 5.4324 | 5.2498 | 5.615 | 5 | 2.376, 3.07, 4.519, 3.662, 5.705 |  | 3.6617 | 0.18703 | 0.99521 | HillSlope (approx.) | PASS | High | FALSE | 5.7045 | 0.76805 | 0.98028 | Standard | PASS | High | [15 empty] | 2.3756 | 0.29286 | 0.96088 | HillSlope (approx.) | PASS | High | FALSE | [7 empty] | 3.0698 | 0.34161 | 0.95143 | HillSlope (approx.) | PASS | High | TRUE | 4.5192 | 0.13822 | 0.99831 | HillSlope (approx.) | PASS | High | FALSE
PMP6-Na ¦ DAPI ¦ Pan (18 µM host) | PMP6-Na | DAPI | Pan | 18 | PASS | 2 | 0 |  | 13.0641 | 9.6778 |  | Approx. model, Hill slope flag | 8.0454 | 1.0511 | HillSlope (approx.) | 8.0454 | 0.74321 | 0.040119 | 2.4877 | 26.02 | 5.0945 | 4.5847 | 5.6042 | 2 | 8.824, 7.336 | wide/unreliable CI at n=2 | [7 empty] | 7.3355 | 0.92749 | 0.95372 | HillSlope (approx.) | PASS | High | FALSE | [35 empty] | 8.824 | 0.76082 | 0.97108 | HillSlope (approx.) | PASS | High | TRUE
PMP6-Na ¦ DAPI ¦ Roc (18 µM host) | PMP6-Na | DAPI | Roc | 18 | PASS | 1 | 0 |  |  |  |  | Approx. model, Hill slope flag | 4.0671 |  | HillSlope (approx.) | 4.0671 |  |  |  |  | 5.3907 |  |  | 1 | 4.067 | single run — no pooling performed | [14 empty] | 4.0671 | 0.22808 | 0.9897 | HillSlope (approx.) | PASS | High | TRUE
PMP6-Na ¦ DAPI ¦ Ser (18 µM host) | PMP6-Na | DAPI | Ser | 18 | PASS | 1 | 0 |  |  |  |  | Low confidence | 173.2526 |  | Standard | 173.2526 |  |  |  |  | 3.7613 |  |  | 1 | 173.3 | single run — no pooling performed | [14 empty] | 173.2526 | 153.6865 | 0.91521 | Standard | PASS | Low — wide CI, recommend retest
PMP6-Na ¦ DAPI ¦ Spd (18 µM host) | PMP6-Na | DAPI | Spd | 18 | PASS | 3 | 0 |  | 25.8919 | 16.1238 |  | Approx. model, Hill slope flag, Low confidence | 11.0091 | 2.8505 | HillSlope (approx.) | 11.0091 | 1.6457 | 0.064921 | 5.7865 | 20.9453 | 4.9582 | 4.6789 | 5.2376 | 3 | 9.208, 9.781, 14.82 |  | 9.2083 | 72.8868 | 0.98112 | HillSlope (approx.) | PASS | Low — wide CI, recommend retest | TRUE | 9.7806 | 63.8381 | 0.97748 | HillSlope (approx.) | PASS | Low — wide CI, recommend retest | TRUE | 14.8153 | 0.81895 | 0.98755 | HillSlope (approx.) | PASS | High | TRUE
PMP6-Na ¦ DAPI ¦ Sta (5 µM host) | PMP6-Na | DAPI | Sta | 5 | PASS | 1 | 0 |  |  |  |  | Low confidence | 212.5038 |  | Standard | 212.5038 |  |  |  |  | 3.6726 |  |  | 1 | 212.5 | single run — no pooling performed | [35 empty] | 212.5038 | 226.5904 | 0.91976 | Standard | PASS | Low — wide CI, recommend retest
PMP6-Na ¦ DAPI ¦ Vin (18 µM host) | PMP6-Na | DAPI | Vin | 18 | PASS | 1 | 0 | [5 empty] | 2.282 |  | Standard | 2.282 |  |  |  |  | 5.6417 |  |  | 1 | 2.282 | single run — no pooling performed | [14 empty] | 2.282 | 0.39153 | 0.97128 | Standard | PASS | High
PMP6-Na ¦ H33 ¦ Adm (10 µM host) | PMP6-Na | H33 | Adm | 10 | PASS | 1 | 0 |  |  |  |  | Approx. model | 7.8364 |  | HillSlope (approx.) | 7.8364 |  |  |  |  | 5.1059 |  |  | 1 | 7.836 | single run — no pooling performed | [14 empty] | 7.8364 | 0.23716 | 0.9994 | HillSlope (approx.) | PASS | High | FALSE
PMP6-Na ¦ H33 ¦ And (10 µM host) | PMP6-Na | H33 | And | 10 | PASS | 2 | 0 |  | 25.0255 | 19.358 |  | Approx. model | 14.3314 | 3.5865 | HillSlope (approx.), Standard | 14.3314 | 2.536 | 0.076851 | 1.5129 | 135.7623 | 4.8437 | 3.8672 | 5.8202 | 2 | 17.11, 12.01 | wide/unreliable CI at n=2 | 17.1057 | 1.9183 | 0.98909 | Standard | PASS | High |  | 12.0071 | 0.68774 | 0.99715 | HillSlope (approx.) | PASS | High | FALSE
PMP6-Na ¦ H33 ¦ Atr (10 µM host) | PMP6-Na | H33 | Atr | 10 | PASS | 6 | 0 |  | 65.2434 | 30.5198 | Inconsistent across runs (log-scale CV%=30.5 > 30) — recommend orthogonal retest before follow-up | Approx. model | 24.6176 | 16.0614 | HillSlope (approx.), Standard | 24.6176 | 6.557 | 0.11568 | 12.4134 | 48.8205 | 4.6088 | 4.3114 | 4.9061 | 6 | 9.255, 26.11, 22.74, 16.55, 43.77, 55.91 |  | 16.5539 | 1.9484 | 0.99153 | HillSlope (approx.) | PASS | High | FALSE | 43.7684 | 4.9849 | 0.99379 | Standard | PASS | High |  | 55.9079 | 17.1649 | 0.9673 | Standard | PASS | High | [8 empty] | 9.2546 | 1.7996 | 0.96855 | Standard | PASS | High | [8 empty] | 26.1114 | 4.2844 | 0.99814 | HillSlope (approx.) | PASS | High | FALSE | 22.738 | 1.4024 | 0.99705 | Standard | PASS | High
PMP6-Na ¦ H33 ¦ Bet (10 µM host) | PMP6-Na | H33 | Bet | 10 | PASS | 4 | 0 |  | 130.384 | 91.9222 | Inconsistent across runs (log-scale CV%=91.9 > 30) — recommend orthogonal retest before follow-up | Approx. model, Hill slope flag | 49.2237 | 64.1798 | HillSlope (approx.), Standard | 49.2237 | 32.0899 | 0.28313 | 6.1822 | 391.9266 | 4.3078 | 3.4068 | 5.2089 | 4 | 7.13, 81.51, 124.8, 80.97 |  | 124.7591 | 32.2471 | 0.99283 | Standard | PASS | High |  | 80.9685 | 30.3929 | 0.9982 | HillSlope (approx.) | PASS | High | FALSE | [28 empty] | 7.1298 | 0.29177 | 0.99599 | HillSlope (approx.) | PASS | High | TRUE | 81.5136 | 8.5524 | 0.99789 | Standard | PASS | High
PMP6-Na ¦ H33 ¦ Cad (10 µM host) | PMP6-Na | H33 | Cad | 10 | PASS | 5 | 0 |  | 16.9548 | 7.8773 |  | Approx. model, Hill slope flag, Low confidence | 6.4299 | 1.0902 | HillSlope (approx.) | 6.4299 | 0.48754 | 0.03293 | 5.2093 | 7.9366 | 5.1918 | 5.1004 | 5.2832 | 5 | 4.752, 6.929, 6.784, 6.993, 7.035 |  | 6.784 | 13.9352 | 0.99906 | HillSlope (approx.) | PASS | Low — wide CI, recommend retest | TRUE | 6.9928 | 20.8647 | 0.998 | HillSlope (approx.) | PASS | Low — wide CI, recommend retest | TRUE | 7.0354 | 11.027 | 0.99952 | HillSlope (approx.) | PASS | Low — wide CI, recommend retest | TRUE | [21 empty] | 4.7525 | 0.11153 | 0.99898 | HillSlope (approx.) | PASS | High | TRUE | 6.9291 | 32.6924 | 0.99565 | HillSlope (approx.) | PASS | Low — wide CI, recommend retest | TRUE
PMP6-Na ¦ H33 ¦ Cef (10 µM host) | PMP6-Na | H33 | Cef | 10 | PASS | 1 | 0 |  |  |  |  | Approx. model | 13.6857 |  | HillSlope (approx.) | 13.6857 |  |  |  |  | 4.8637 |  |  | 1 | 13.69 | single run — no pooling performed | [21 empty] | 13.6857 | 2.5467 | 0.96401 | HillSlope (approx.) | PASS | High | FALSE
PMP6-Na ¦ H33 ¦ Cez (10 µM host) | PMP6-Na | H33 | Cez | 10 | PASS | 1 | 0 |  |  |  |  | Approx. model, Hill slope flag | 15.9933 |  | HillSlope (approx.) | 15.9933 |  |  |  |  | 4.7961 |  |  | 1 | 15.99 | single run — no pooling performed | [21 empty] | 15.9933 | 1.1412 | 0.97547 | HillSlope (approx.) | PASS | High | TRUE
PMP6-Na ¦ H33 ¦ Cis (10 µM host) | PMP6-Na | H33 | Cis | 10 | PASS | 1 | 0 | [5 empty] | 26.2627 |  | Standard | 26.2627 |  |  |  |  | 4.5807 |  |  | 1 | 26.26 | single run — no pooling performed | [28 empty] | 26.2627 | 6.0123 | 0.96215 | Standard | PASS | High
PMP6-Na ¦ H33 ¦ Clo (10 µM host) | PMP6-Na | H33 | Clo | 10 | PASS | 1 | 0 | [5 empty] | 85.0509 |  | Standard | 85.0509 |  |  |  |  | 4.0703 |  |  | 1 | 85.05 | single run — no pooling performed | [28 empty] | 85.0509 | 29.4751 | 0.97174 | Standard | PASS | High
PMP6-Na ¦ H33 ¦ Dab (10 µM host) | PMP6-Na | H33 | Dab | 10 | PASS | 1 | 0 | [5 empty] | 8.3398 |  | Standard | 8.3398 |  |  |  |  | 5.0788 |  |  | 1 | 8.34 | single run — no pooling performed | [42 empty] | 8.3398 | 0.79952 | 0.99168 | Standard | PASS | High
PMP6-Na ¦ H33 ¦ Das (10 µM host) | PMP6-Na | H33 | Das | 10 | PASS | 2 | 0 |  | 199.2204 | 309.0639 | Inconsistent across runs (log-scale CV%=309.1 > 30) — recommend orthogonal retest before follow-up | Approx. model, Hill slope flag, Low confidence | 55.4492 | 110.4661 | HillSlope (approx.) | 55.4492 | 78.1113 | 0.61179 | 9.3401e-07 | 3291838530.0035 | 4.2561 | -3.5174 | 12.0296 | 2 | 226.8, 13.56 | wide/unreliable CI at n=2 | 226.8226 | 701.8687 | 0.97417 | HillSlope (approx.) | PASS | Low — wide CI, recommend retest | FALSE | [14 empty] | 13.5551 | 1.0522 | 0.97647 | HillSlope (approx.) | PASS | High | TRUE
PMP6-Na ¦ H33 ¦ Dau (10 µM host) | PMP6-Na | H33 | Dau | 10 | PASS | 3 | 0 |  | 152.9297 | 141.7999 | Inconsistent across runs (log-scale CV%=141.8 > 30) — recommend orthogonal retest before follow-up | Approx. model | 2.826 | 4.3218 | HillSlope (approx.), Wang | 2.826 | 2.4952 | 0.38346 | 0.063283 | 126.1962 | 5.5488 | 3.899 | 7.1987 | 3 | 0.4992, 8.994, 5.027 | [15 empty] | 8.9944 | 0.24002 | 0.99832 | HillSlope (approx.) | PASS | High | FALSE | 5.0265 | 0.59138 | 0.98047 | HillSlope (approx.) | PASS | High | FALSE | 0.49919 | 0.082327 | 0.9897 | Wang | PASS | High
PMP6-Na ¦ H33 ¦ Dib (10 µM host) | PMP6-Na | H33 | Dib | 10 | PASS | 1 | 0 |  |  |  |  | Approx. model | 102.3833 |  | HillSlope (approx.) | 102.3833 |  |  |  |  | 3.9898 |  |  | 1 | 102.4 | single run — no pooling performed | [42 empty] | 102.3833 | 38.1034 | 0.99915 | HillSlope (approx.) | PASS | High | FALSE
PMP6-Na ¦ H33 ¦ Dox (10 µM host) | PMP6-Na | H33 | Dox | 10 | PASS | 4 | 0 |  | 8.4544 | 4.3178 |  | Approx. model, Hill slope flag | 5.4086 | 0.45727 | HillSlope (approx.) | 5.4086 | 0.22863 | 0.018359 | 4.7278 | 6.1875 | 5.2669 | 5.2085 | 5.3253 | 4 | 4.939, 5.648, 5.157, 5.948 |  | 5.1572 | 0.23604 | 0.996 | HillSlope (approx.) | PASS | High | FALSE | 5.9482 | 0.42878 | 0.98968 | HillSlope (approx.) | PASS | High | FALSE | [28 empty] | 4.9389 | 0.045574 | 0.99972 | HillSlope (approx.) | PASS | High | TRUE | 5.6483 | 0.097847 | 0.99921 | HillSlope (approx.) | PASS | High | FALSE
PMP6-Na ¦ H33 ¦ Edo (10 µM host) | PMP6-Na | H33 | Edo | 10 | PASS | 2 | 0 |  | 159.2196 | 208.2844 | Inconsistent across runs (log-scale CV%=208.3 > 30) — recommend orthogonal retest before follow-up | Approx. model, Low confidence | 112.7033 | 179.4456 | HillSlope (approx.), Standard | 112.7033 | 126.8872 | 0.48895 | 6.9059e-05 | 183930641.4157 | 3.9481 | -2.2647 | 10.1608 | 2 | 36.56, 347.4 | wide/unreliable CI at n=2 | 36.5582 | 8.4865 | 0.97042 | Standard | PASS | High |  | 347.4465 | 2537.4173 | 0.91721 | HillSlope (approx.) | PASS | Low — wide CI, recommend retest | FALSE
PMP6-Na ¦ H33 ¦ Her (10 µM host) | PMP6-Na | H33 | Her | 10 | PASS | 1 | 0 | [5 empty] | 51.1157 |  | Standard | 51.1157 |  |  |  |  | 4.2914 |  |  | 1 | 51.12 | single run — no pooling performed | [49 empty] | 51.1157 | 7.2539 | 0.99162 | Standard | PASS | High
PMP6-Na ¦ H33 ¦ His (10 µM host) | PMP6-Na | H33 | His | 10 | PASS | 3 | 0 |  | 10.5404 | 6.2745 |  | Approx. model, Hill slope flag, Low confidence | 2.6175 | 0.2759 | HillSlope (approx.) | 2.6175 | 0.15929 | 0.026429 | 2.0145 | 3.401 | 5.5821 | 5.4684 | 5.6958 | 3 | 2.722, 2.836, 2.323 | [15 empty] | 2.8358 | 1.832 | 0.99949 | HillSlope (approx.) | PASS | Low — wide CI, recommend retest | TRUE | 2.3229 | 18.8634 | 0.98465 | HillSlope (approx.) | PASS | Low — wide CI, recommend retest | TRUE | 2.7225 | 3.9183 | 0.99806 | HillSlope (approx.) | PASS | Low — wide CI, recommend retest | TRUE
PMP6-Na ¦ H33 ¦ L3M (10 µM host) | PMP6-Na | H33 | L3M | 10 | PASS | 3 | 0 |  | 248.224 | 319.1766 | Inconsistent across runs (log-scale CV%=319.2 > 30) — recommend orthogonal retest before follow-up | Approx. model, Hill slope flag | 1.0108 | 2.509 | HillSlope (approx.), Wang | 1.0108 | 1.4485 | 0.6224 | 0.0021217 | 481.512 | 5.9954 | 3.3174 | 8.6733 | 3 | 0.05905, 5.842, 2.993 | [15 empty] | 5.8422 | 0.061034 | 0.99904 | HillSlope (approx.) | PASS | High | TRUE | 2.9934 | 0.19244 | 0.98813 | HillSlope (approx.) | PASS | High | TRUE | 0.059047 | 0.0063637 | 0.9976 | Wang | PASS | High
PMP6-Na ¦ H33 ¦ Lys (10 µM host) | PMP6-Na | H33 | Lys | 10 | PASS | 2 | 0 |  | 6.2256 | 4.5005 |  | Approx. model | 11.7251 | 0.72996 | HillSlope (approx.) | 11.7251 | 0.51616 | 0.019118 | 6.7019 | 20.5135 | 4.9309 | 4.688 | 5.1738 | 2 | 11.22, 12.25 | wide/unreliable CI at n=2 | [14 empty] | 12.2528 | 0.45854 | 0.99745 | HillSlope (approx.) | PASS | High | FALSE | [7 empty] | 11.2202 | 0.87664 | 0.99326 | HillSlope (approx.) | PASS | High | FALSE
PMP6-Na ¦ H33 ¦ Met (10 µM host) | PMP6-Na | H33 | Met | 10 | PASS | 2 | 0 |  | 4.1064 | 2.9462 |  | Approx. model, Low confidence | 120.3985 | 4.944 | HillSlope (approx.), Standard | 120.3985 | 3.4959 | 0.01261 | 83.2513 | 174.121 | 3.9194 | 3.7591 | 4.0796 | 2 | 123.9, 117 | wide/unreliable CI at n=2 | 116.9528 | 221.3846 | 0.97765 | HillSlope (approx.) | PASS | Low — wide CI, recommend retest | FALSE | [42 empty] | 123.9457 | 38.8747 | 0.98614 | Standard | PASS | High
PMP6-Na ¦ H33 ¦ Mit (10 µM host) | PMP6-Na | H33 | Mit | 10 | PASS | 4 | 0 |  | 30.2846 | 16.3489 |  | Approx. model | 0.39322 | 0.11909 | HillSlope (approx.), Standard | 0.39322 | 0.059543 | 0.065762 | 0.24286 | 0.63668 | 6.4054 | 6.1961 | 6.6146 | 4 | 0.4386, 0.3839, 0.54, 0.2629 |  | 0.38394 | 0.016778 | 0.99735 | HillSlope (approx.) | PASS | High | FALSE | 0.53997 | 0.025992 | 0.99737 | Standard | PASS | High |  | 0.26291 | 0.017612 | 0.99092 | HillSlope (approx.) | PASS | High | FALSE | [28 empty] | 0.43864 | 0.037973 | 0.99291 | Standard | PASS | High
PMP6-Na ¦ H33 ¦ Mor (10 µM host) | PMP6-Na | H33 | Mor | 10 | PASS | 1 | 0 |  |  |  |  | Approx. model | 2.8938 |  | HillSlope (approx.) | 2.8938 |  |  |  |  | 5.5385 |  |  | 1 | 2.894 | single run — no pooling performed | [28 empty] | 2.8938 | 0.17883 | 0.99082 | HillSlope (approx.) | PASS | High | FALSE
PMP6-Na ¦ H33 ¦ Neo (10 µM host) | PMP6-Na | H33 | Neo | 10 | PASS | 3 | 0 |  | 34.8526 | 22.2896 |  |  | 21.2117 | 7.3928 | Standard | 21.2117 | 4.2682 | 0.087389 | 8.9242 | 50.4174 | 4.6734 | 4.2974 | 5.0494 | 3 | 22.35, 14.63, 29.2 |  | 22.3472 | 7.8309 | 0.91109 | Standard | PASS | High |  | 14.6273 | 2.8154 | 0.96686 | Standard | PASS | High |  | 29.1969 | 2.8433 | 0.99361 | Standard | PASS | High
PMP6-Na ¦ H33 ¦ Pal (10 µM host) | PMP6-Na | H33 | Pal | 10 | PASS | 5 | 0 |  | 19.2472 | 8.9889 |  | Approx. model, Hill slope flag | 2.7961 | 0.53817 | HillSlope (approx.) | 2.7961 | 0.24068 | 0.037382 | 2.2017 | 3.5509 | 5.5534 | 5.4497 | 5.6572 | 5 | 2.208, 2.471, 3.404, 2.711, 3.394 |  | 2.7111 | 0.15545 | 0.98919 | HillSlope (approx.) | PASS | High | TRUE | 3.394 | 0.098986 | 0.99708 | HillSlope (approx.) | PASS | High | TRUE | [14 empty] | 2.2084 | 0.09632 | 0.99297 | HillSlope (approx.) | PASS | High | TRUE | [7 empty] | 2.4708 | 0.030121 | 0.99935 | HillSlope (approx.) | PASS | High | TRUE | 3.4041 | 0.066979 | 0.99891 | HillSlope (approx.) | PASS | High | TRUE
PMP6-Na ¦ H33 ¦ Pan (10 µM host) | PMP6-Na | H33 | Pan | 10 | PASS | 1 | 0 | [5 empty] | 7.991 |  | Standard | 7.991 |  |  |  |  | 5.0974 |  |  | 1 | 7.991 | single run — no pooling performed | [14 empty] | 7.991 | 0.75382 | 0.99223 | Standard | PASS | High
PMP6-Na ¦ H33 ¦ Roc (10 µM host) | PMP6-Na | H33 | Roc | 10 | PASS | 7 | 0 |  | 200.0659 | 113.012 | Inconsistent across runs (log-scale CV%=113.0 > 30) — recommend orthogonal retest before follow-up | Approx. model, Hill slope flag | 0.7706 | 1.5417 | HillSlope (approx.), Wang | 0.7706 | 0.58271 | 0.3284 | 0.12113 | 4.9024 | 6.1132 | 5.3096 | 6.9167 | 7 | 2.682, 3.317, 0.03338, 0.05618, 3.796, 1.464, 1.74 |  | 0.056175 | 0.0054332 | 0.99817 | Wang | PASS | High |  | 3.7965 | 0.10615 | 0.99751 | HillSlope (approx.) | PASS | High | TRUE | 1.4643 | 0.01469 | 0.99964 | HillSlope (approx.) | PASS | High | TRUE | 1.7397 | 0.12454 | 0.97812 | HillSlope (approx.) | PASS | High | TRUE | 2.6819 | 0.087422 | 0.99597 | HillSlope (approx.) | PASS | High | TRUE | [7 empty] | 3.3174 | 0.030302 | 0.9998 | HillSlope (approx.) | PASS | High | TRUE | 0.033384 | 0.0064068 | 0.99543 | Wang | PASS | High
PMP6-Na ¦ H33 ¦ Ser (10 µM host) | PMP6-Na | H33 | Ser | 10 | PASS | 2 | 0 |  | 46.1251 | 38.5629 | Inconsistent across runs (log-scale CV%=38.6 > 30) — recommend orthogonal retest before follow-up | Approx. model | 43.3446 | 19.9928 | HillSlope (approx.), Standard | 43.3446 | 14.137 | 0.14165 | 0.68729 | 2733.5596 | 4.3631 | 2.5633 | 6.1629 | 2 | 31.28, 60.06 | wide/unreliable CI at n=2 | [14 empty] | 60.0595 | 5.1393 | 0.99733 | Standard | PASS | High | [8 empty] | 31.2815 | 6.7438 | 0.99376 | HillSlope (approx.) | PASS | High | FALSE
PMP6-Na ¦ H33 ¦ Spd (10 µM host) | PMP6-Na | H33 | Spd | 10 | PASS | 3 | 0 |  | 69.3616 | 49.251 | Inconsistent across runs (log-scale CV%=49.3 > 30) — recommend orthogonal retest before follow-up | Approx. model, Hill slope flag, Low confidence | 5.3307 | 3.6975 | HillSlope (approx.) | 5.3307 | 2.1347 | 0.17392 | 0.95166 | 29.8603 | 5.2732 | 4.5249 | 6.0215 | 3 | 2.393, 8.043, 7.87 | [8 empty] | 8.0428 | 10.5 | 0.99878 | HillSlope (approx.) | PASS | Low — wide CI, recommend retest | TRUE | 7.8697 | 17.4701 | 0.99719 | HillSlope (approx.) | PASS | Low — wide CI, recommend retest | TRUE | [7 empty] | 2.3933 | 16.228 | 0.98762 | HillSlope (approx.) | PASS | Low — wide CI, recommend retest | TRUE
PMP6-Na ¦ H33 ¦ Spe (10 µM host) | PMP6-Na | H33 | Spe | 10 | PASS | 1 | 0 |  |  |  |  | Approx. model, Hill slope flag | 1.6855 |  | HillSlope (approx.) | 1.6855 |  |  |  |  | 5.7733 |  |  | 1 | 1.686 | single run — no pooling performed | [7 empty] | 1.6855 | 0.06109 | 0.99733 | HillSlope (approx.) | PASS | High | TRUE
PMP6-Na ¦ H33 ¦ Spm (10 µM host) | PMP6-Na | H33 | Spm | 10 | PASS | 1 | 0 |  |  |  |  | Approx. model, Hill slope flag | 2.0859 |  | HillSlope (approx.) | 2.0859 |  |  |  |  | 5.6807 |  |  | 1 | 2.086 | single run — no pooling performed | [14 empty] | 2.0859 | 0.030513 | 0.99801 | HillSlope (approx.) | PASS | High | TRUE
PMP6-Na ¦ H33 ¦ Vec (10 µM host) | PMP6-Na | H33 | Vec | 10 | PASS | 1 | 0 |  |  |  |  | Approx. model, Hill slope flag | 2.6668 |  | HillSlope (approx.) | 2.6668 |  |  |  |  | 5.574 |  |  | 1 | 2.667 | single run — no pooling performed | [28 empty] | 2.6668 | 0.070643 | 0.99803 | HillSlope (approx.) | PASS | High | TRUE